## Slide 1: [F-18] Improving Singing Aid System for Laryngectomees with Statistical Voice Conversion and VAE-SPACE
◎Li Li1, Tomoki Toda2 ,
Kazuho Morikawa2, Kazuhiro Kobayashi2, Shoji Makino1
1 University of Tsukuba, Japan
2 Nagoya University, Japan
ISMIR2019@Delft, Netherlands
Nov. 7th, 2019

## Slide 2
Research backgrounds
Laryngectomees using electrolarynx
Laryngectomees: people whose larynx has been removed
Electrolarynx: external medical device producing mechanical vibrations
Electrolaryngeal (EL) speech

## Slide 3
contour of EL speech
Objectives of this work
Limited capability of electrolarynx to assist laryngectomees in singing
To improve the naturalness of the generated singing voices and extend the capability of modeling different singing styles of the conventional singing aid system
Singing aid system based on pitch control
contour of singing voice

## Slide 4
Proposed system
Overview of system
Speaking
EL speeches
Playing
Laryngectomees with musical instruments
Musical scores
Voice quality enhancement
Pitch control
Synthesis
Singing voices
statistical VC
VAE-SPACE
Statistical VC
To remove noise and eliminate the adverse impacts of spectrograms extracted from EL speech
VAE-SPACE
Data-driven method
To improve the capability and flexibility in modeling various singing characteristics and styles

## Slide 5: Thank you for your attention!
More details at [F-18]

## Slide 6
DEMO
 | EL speech | SS score | SS rule-based | VC rule-based | VC VAE-unaligned | VC VAE-aligned | VC VAE-aligned-ft | VC CVAE- aligned-ft
Sample 1 |  |  |  |  |  |  |  | 
Sample 2 |  |  |  |  |  |  |  | 
Style 1 & 2
SS: spectral subtraction
VC: voice conversion
ft: fine tuning